UUFSD Electrical Circuit Breakers

Each building has its own electrical circuit breaker box as described here. If a breaker is tripped, the switch will be halfway between Off and On. To reset the breaker, flip it Off, then On.

Kitchen

The outlets all have Ground Fault Interrupters (GFIs). If the little green light on the outlet is not on, push the RESET button. If the little green light is still off, reset the breaker. The breaker box is in the broom closet in the corner by the refrigerators. There is a separate breaker box for the ovens, stove and hood on the wall to the right of the ovens.

Founders’ Hall

The breaker box is on the wall in the closet to the left of the fireplace.

Palmer Library

The breaker box is in the janitor’s closet on the left side of the ground floor entrance to the restrooms.

Office

The breaker box is outside on the wall at the Minister’s Patio.

Classrooms

The breaker boxes are outside near the front doors of each classroom.

Kiosk

The breaker box is outside on the fence near the entrance to the Amphitheater.